## Munka1
[10 empty] | Size [kDa] | Observations
[10 empty] | 1.6 | Lower Marker
[10 empty] | 3.5 | Ladder Peak
4.8
5.3
6
[10 empty] | 6.5 | Ladder Peak
9.5
[10 empty] | 15 | Ladder Peak
[10 empty] | 28 | Ladder Peak
[10 empty] | 46 | Ladder Peak
[10 empty] | 63 | Ladder Peak
[10 empty] | 95 | Upper Marker
131.8
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.6 | 0 | 0 | 0 | Lower Marker | 0.2 | 0 | 0 | 0
3.5 | 0 | 0 | 0 | System Peak | 0.3 | 0 | 0 | 0
5.6 | 60.7 | 0 | 4.1 |  | 1.6 | 0 | 0 | 0 | Lower Marker
7.4 | 72.1 | 0 | 4.9 |  | 2.1 | 0 | 0 | 0 | System Peak
14.4 | 623.7 | 0 | 42.2 |  | 3.1 | 0 | 0 | 0 | System Peak
27 | 392.7 | 0 | 26.6 |  | 4.5 | 0 | 0 | 0 | System Peak
30.7 | 44 | 0 | 3 |  | 6.2 | 83.1 | 0 | 4.2
37.2 | 15.5 | 0 | 1 |  | 12.5 | 672.3 | 0 | 34.2
41.6 | 29.6 | 0 | 2 |  | 15.7 | 84.6 | 0 | 4.3
48.7 | 129.9 | 0 | 8.8 |  | 20 | 28.4 | 0 | 1.4
60.7 | 14 | 0 | 0.9 |  | 23 | 116.1 | 0 | 5.9
62 | 18 | 0 | 1.2 |  | 27.8 | 563.3 | 0 | 28.7
65.5 | 29.1 | 0 | 2 |  | 38.2 | 27.5 | 0 | 1.4
73.7 | 6.2 | 0 | 0.4 |  | 39.1 | 36.6 | 0 | 1.9
80.8 | 3.9 | 0 | 0.3 |  | 41.1 | 76 | 0 | 3.9
88.2 | 39.4 | 0 | 2.6 |  | 44.4 | 48 | 0 | 2.4
95 | 60 | 0 | 0 | Upper Marker | 47.1 | 25.5 | 0 | 1.3
122.4 | 0 | 0 | 0 |  | 50.3 | 44.6 | 0 | 2.3
124.1 | 0 | 0 | 0 |  | 53.3 | 30.7 | 0 | 1.6
161.5 | 0 | 0 | 0 |  | 55.3 | 120.1 | 0 | 6.1
[5 empty] | 63.6 | 6.9 | 0 | 0.4
[5 empty] | 95 | 60 | 0 | 0 | Upper Marker
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.2 | 0 | 0 | 0 |  | 1.6 | 0 | 0 | 0 | Lower Marker
1.4 | 0 | 0 | 0 |  | 3.4 | 0 | 0 | 0 | System Peak
1.6 | 0 | 0 | 0 | Lower Marker | 6.1 | 211.2 | 0 | 4.7
2.7 | 0 | 0 | 0 | System Peak | 7.9 | 332.5 | 0 | 7.4
3.6 | 0 | 0 | 0 | System Peak | 10.1 | 168.9 | 0 | 3.7
4.6 | 0 | 0 | 0 | System Peak | 14.1 | 532.4 | 0 | 11.8
5.1 | 376.5 | 0 | 9.6 |  | 18.2 | 401.1 | 0 | 8.9
5.5 | 1245.2 | 0 | 31.8 |  | 22.1 | 808.6 | 0 | 18
6.7 | 360.7 | 0 | 9.2 |  | 23.8 | 151.5 | 0 | 3.4
8.4 | 105.2 | 0 | 2.7 |  | 25.8 | 847.9 | 0 | 18.8
15 | 49.6 | 0 | 1.3 |  | 29.4 | 288.7 | 0 | 6.4
18.9 | 59.3 | 0 | 1.5 |  | 31.2 | 126.6 | 0 | 2.8
20.2 | 484.9 | 0 | 12.4 |  | 37.8 | 17.6 | 0 | 0.4
22.2 | 124.7 | 0 | 3.2 |  | 43.4 | 32.6 | 0 | 0.7
23.4 | 142.9 | 0 | 3.6 |  | 45.7 | 260.2 | 0 | 5.8
28.5 | 19.1 | 0 | 0.5 |  | 49.2 | 27.6 | 0 | 0.6
29.9 | 318.4 | 0 | 8.1 |  | 58.5 | 144.3 | 0 | 3.2
42 | 70.2 | 0 | 1.8 |  | 62.2 | 12.2 | 0 | 0.3
44.1 | 213.3 | 0 | 5.4 |  | 83.3 | 9.8 | 0 | 0.2
48.7 | 291.8 | 0 | 7.5 |  | 89.3 | 130.1 | 0 | 2.9
93.5 | 54.6 | 0 | 1.4 |  | 95 | 60 | 0 | 0 | Upper Marker
95 | 60 | 0 | 0 | Upper Marker | 100.1 | 0 | 0 | 0
[5 empty] | 115.3 | 0 | 0 | 0
[5 empty] | 140.3 | 0 | 0 | 0
[5 empty] | 149.1 | 0 | 0 | 0
[5 empty] | 156.7 | 0 | 0 | 0
[5 empty] | 170.3 | 0 | 0 | 0
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.6 | 0 | 0 | 0 | Lower Marker | 0.7 | 0 | 0 | 0
2.7 | 0 | 0 | 0 | System Peak | 1.6 | 0 | 0 | 0 | Lower Marker
2.9 | 0 | 0 | 0 | System Peak | 3.3 | 0 | 0 | 0 | System Peak
3.9 | 0 | 0 | 0 | System Peak | 4.9 | 86.1 | 0 | 8.8
5.9 | 7.5 | 0 | 2.2 |  | 6 | 146.8 | 0 | 15
6.3 | 22.8 | 0 | 6.8 |  | 10.6 | 155.6 | 0 | 15.9
10.1 | 38.9 | 0 | 11.6 |  | 15.1 | 71.2 | 0 | 7.3
11.3 | 13.7 | 0 | 4.1 |  | 16.8 | 97.4 | 0 | 9.9
16.2 | 51.7 | 0 | 15.5 |  | 21.4 | 9.4 | 0 | 1
19 | 14.3 | 0 | 4.3 |  | 22.4 | 11.3 | 0 | 1.2
19.7 | 14.8 | 0 | 4.4 |  | 23.2 | 6.8 | 0 | 0.7
22 | 27.9 | 0 | 8.3 |  | 24.1 | 6.6 | 0 | 0.7
25 | 12.1 | 0 | 3.6 |  | 25.3 | 2.3 | 0 | 0.2
27.3 | 10.9 | 0 | 3.3 |  | 27.1 | 4.2 | 0 | 0.4
30.3 | 3.6 | 0 | 1.1 |  | 28.2 | 6.5 | 0 | 0.7
38.7 | 13.5 | 0 | 4 |  | 30.2 | 5.1 | 0 | 0.5
39.2 | 4.4 | 0 | 1.3 |  | 32.1 | 13.9 | 0 | 1.4
76.8 | 18.6 | 0 | 5.6 |  | 41.1 | 3.4 | 0 | 0.4
81.9 | 35.4 | 0 | 10.6 |  | 59.9 | 65.3 | 0 | 6.7
89.6 | 44 | 0 | 13.3 |  | 61.2 | 53.2 | 0 | 5.4
95 | 60 | 0 | 0 | Upper Marker | 63 | 75.7 | 0 | 7.7
114.4 | 0 | 0 | 0 |  | 71.1 | 60.7 | 0 | 6.2
[5 empty] | 75.3 | 17.2 | 0 | 1.7
[5 empty] | 77.1 | 82.2 | 0 | 8.2
[5 empty] | 95 | 60 | 0 | 0 | Upper Marker
[5 empty] | 148.2 | 0 | 0 | 0
[5 empty] | 150.3 | 0 | 0 | 0
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.6 | 0 | 0 | 0 | Lower Marker | 1.6 | 0 | 0 | 0 | Lower Marker
3.1 | 0 | 0 | 0 | System Peak | 2.7 | 0 | 0 | 0 | System Peak
3.6 | 0 | 0 | 0 | System Peak | 3.4 | 0 | 0 | 0 | System Peak
5.2 | 66.4 | 0 | 2.6 |  | 5.2 | 1967.1 | 0 | 11.7
6.3 | 47.5 | 0 | 1.9 |  | 6.3 | 1176.6 | 0 | 7
6.5 | 153.8 | 0 | 6.1 |  | 10.4 | 934.3 | 0 | 5.6
11.8 | 109.1 | 0 | 4.4 |  | 15.3 | 2250 | 0 | 13.4
17 | 323.5 | 0 | 12.9 |  | 22.3 | 4273.1 | 0 | 25.5
22.8 | 562.2 | 0 | 22.4 |  | 25.5 | 801 | 0 | 4.8
25.4 | 90.5 | 0 | 3.6 |  | 28.8 | 740.6 | 0 | 4.4
29.8 | 277.3 | 0 | 11.1 |  | 31 | 1508.2 | 0 | 9
31.8 | 234.9 | 0 | 9.4 |  | 37.3 | 289.5 | 0 | 1.7
40.6 | 18.9 | 0 | 0.8 |  | 43.6 | 191.4 | 0 | 1.1
45.2 | 21.1 | 0 | 0.8 |  | 51.1 | 134.3 | 0 | 0.8
50.3 | 5 | 0 | 0.2 |  | 53.1 | 2386.1 | 0 | 14.2
52.9 | 34.4 | 0 | 1.4 |  | 67.2 | 43.9 | 0 | 0.3
55.1 | 404.7 | 0 | 16.1 |  | 74.5 | 71.7 | 0 | 0.4
61.1 | 18.5 | 0 | 0.7 |  | 90.8 | 16.8 | 0 | 0.1
66.8 | 36.2 | 0 | 1.4 |  | 95 | 60 | 0 | 0 | Upper Marker
88 | 102.3 | 0 | 4.2 |  | 116.5 | 0 | 0 | 0
95 | 60 | 0 | 0 | Upper Marker | 132.5 | 0 | 0 | 0
99.5 | 0 | 0 | 0 |  | 182.8 | 0 | 0 | 0
109.6 | 0 | 0 | 0 |  | 199.5 | 0 | 0 | 0
115.5 | 0 | 0 | 0 |  | 204.3 | 0 | 0 | 0
122.5 | 0 | 0 | 0
139.9 | 0 | 0 | 0
144.4 | 0 | 0 | 0
149.6 | 0 | 0 | 0
191 | 0 | 0 | 0
201.7 | 0 | 0 | 0
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.6 | 0 | 0 | 0 | Lower Marker | 1.6 | 0 | 0 | 0 | Lower Marker
2.5 | 0 | 0 | 0 | System Peak | 3.2 | 0 | 0 | 0 | System Peak
3.1 | 0 | 0 | 0 | System Peak | 3.5 | 0 | 0 | 0 | System Peak
5.1 | 22.2 | 0 | 4.8 |  | 4 | 0 | 0 | 0 | System Peak
5.5 | 38.4 | 0 | 8.4 |  | 5.8 | 9.8 | 0 | 2.3
9.1 | 30.3 | 0 | 6.6 |  | 6.1 | 10.6 | 0 | 2.5
11.9 | 77.7 | 0 | 16.9 |  | 9.8 | 96.7 | 0 | 23.1
19.9 | 47.7 | 0 | 10.4 |  | 16.2 | 9.9 | 0 | 2.4
21.9 | 57.3 | 0 | 12.5 |  | 19.9 | 52.4 | 0 | 12.5
25.7 | 21.5 | 0 | 4.7 |  | 22.3 | 43.5 | 0 | 10.4
26.8 | 10.6 | 0 | 2.3 |  | 24.7 | 11.1 | 0 | 2.6
29.3 | 8.7 | 0 | 1.9 |  | 25.9 | 13.1 | 0 | 3.1
31.8 | 6.7 | 0 | 1.5 |  | 27.7 | 6.1 | 0 | 1.5
34.7 | 4.9 | 0 | 1.1 |  | 29.2 | 4.2 | 0 | 1
46.7 | 21.9 | 0 | 4.8 |  | 30.3 | 8.5 | 0 | 2
56.1 | 21.5 | 0 | 4.7 |  | 33 | 6.7 | 0 | 1.6
58.8 | 41.4 | 0 | 9 |  | 36 | 2.8 | 0 | 0.7
65.6 | 12 | 0 | 2.6 |  | 38.5 | 2.1 | 0 | 0.5
77.7 | 2 | 0 | 0.4 |  | 43.8 | 5.9 | 0 | 1.4
87.3 | 4.9 | 0 | 1.1 |  | 46.4 | 16.8 | 0 | 4
90.6 | 29.7 | 0 | 6.3 |  | 55.9 | 21.3 | 0 | 5.1
95 | 60 | 0 | 0 | Upper Marker | 58.6 | 45.2 | 0 | 10.8
131.4 | 0 | 0 | 0 |  | 65.4 | 12.5 | 0 | 3
158.7 | 0 | 0 | 0 |  | 78.9 | 3.2 | 0 | 0.8
163.4 | 0 | 0 | 0 |  | 87 | 5.4 | 0 | 1.3
169 | 0 | 0 | 0 |  | 90.6 | 30.9 | 0 | 7.4
192.2 | 0 | 0 | 0 |  | 95 | 60 | 0 | 0 | Upper Marker
[5 empty] | 131.9 | 0 | 0 | 0
[5 empty] | 152.3 | 0 | 0 | 0
[5 empty] | 159.6 | 0 | 0 | 0
[5 empty] | 165.8 | 0 | 0 | 0
[5 empty] | 192.8 | 0 | 0 | 0