## Munka1
Létra
B1 |  |  |  |  | B2 |  |  |  |  | B3 | [5 empty] | B4
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations |  | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | B5
1.6 | 0 | 0 | 0 | Lower Marker | 1.6 | 0 | 0 | 0 | Lower Marker | 1.6 | 0 | 0 | 0 | Lower Marker |  | 1.6 | 0 | 0 | 0 | Lower Marker | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.9 | 0 | 0 | 0 | System Peak | 3 | 0 | 0 | 0 | System Peak | 2.5 | 0 | 0 | 0 | System Peak |  | 2.7 | 0 | 0 | 0 | System Peak | 1.6 | 0 | 0 | 0 | Lower Marker
2.6 | 0 | 0 | 0 | System Peak | 3.3 | 0 | 0 | 0 | System Peak | 2.8 | 0 | 0 | 0 | System Peak |  | 3.2 | 0 | 0 | 0 | System Peak | 2 | 0 | 0 | 0 | System Peak
2.9 | 0 | 0 | 0 | System Peak | 4.1 | 0 | 0 | 0 | System Peak | 3 | 0 | 0 | 0 | System Peak |  | 6 | 201.5 | 0 | 3.6 |  | 2.7 | 0 | 0 | 0 | System Peak
3.1 | 0 | 0 | 0 | System Peak | 4.6 | 0 | 0 | 0 | System Peak | 4.6 | 0 | 0 | 0 | System Peak |  | 10.5 | 234.6 | 0 | 4.2 |  | 2.9 | 0 | 0 | 0 | System Peak
3.5 | 0 | 0 | 0 | System Peak | 5.7 | 2261 | 0 | 6.2 |  | 5.2 | 20 | 0 | 3 |  |  | 16.8 | 1595.3 | 0 | 28.5 |  | 3.3 | 0 | 0 | 0 | System Peak
4.5 | 0 | 0 | 0 | System Peak | 8.9 | 1653.9 | 0 | 4.5 |  | 5.8 | 53.2 | 0 | 8 |  |  | 25 | 125.3 | 0 | 2.2 |  | 6.4 | 46.1 | 0 | 5.8
5.3 | 1031.8 | 0 | 7 |  | 16 | 12603.6 | 0 | 34.3 |  | 7.7 | 45.5 | 0 | 6.9 |  |  | 25.8 | 42.1 | 0 | 0.8 |  | 10.4 | 46.9 | 0 | 5.9
6.9 | 493 | 0 | 3.3 |  | 18.9 | 3284.5 | 0 | 8.9 |  | 14.7 | 322.9 | 0 | 48.8 |  |  | 26.8 | 88.6 | 0 | 1.6 |  | 17.2 | 251.8 | 0 | 31.6
14.7 | 8479 | 0 | 57.6 |  | 22.9 | 5783 | 0 | 15.7 |  | 19.9 | 12.9 | 0 | 1.9 |  |  | 31.2 | 57.7 | 0 | 1 |  | 20.1 | 16 | 0 | 2
23.5 | 1728.9 | 0 | 11.7 |  | 27 | 4492.3 | 0 | 12.2 |  | 21.9 | 9.8 | 0 | 1.5 |  |  | 32.6 | 57.4 | 0 | 1 |  | 21.9 | 18.9 | 0 | 2.4
25.7 | 588 | 0 | 4 |  | 31.9 | 1893.2 | 0 | 5.2 |  | 23.4 | 8.1 | 0 | 1.2 |  |  | 35.7 | 46.6 | 0 | 0.8 |  | 28.1 | 14.2 | 0 | 1.8
26.8 | 933.5 | 0 | 6.3 |  | 42.6 | 122 | 0 | 0.3 |  | 24.6 | 9.8 | 0 | 1.5 |  |  | 40 | 352.4 | 0 | 6.3 |  | 29.9 | 3.2 | 0 | 0.4
30.8 | 344.1 | 0 | 2.3 |  | 51.3 | 1675.6 | 0 | 4.6 |  | 26.8 | 24.4 | 0 | 3.7 |  |  | 45.6 | 4.9 | 0 | 0.1 |  | 31.7 | 6.3 | 0 | 0.8
37.9 | 34.9 | 0 | 0.2 |  | 53.9 | 441.5 | 0 | 1.2 |  | 32.9 | 12.3 | 0 | 1.9 |  |  | 47.7 | 233.2 | 0 | 4.2 |  | 32.7 | 4.2 | 0 | 0.5
43.2 | 100.3 | 0 | 0.7 |  | 56.4 | 524.3 | 0 | 1.4 |  | 36 | 13.3 | 0 | 2 |  |  | 49.8 | 2468.2 | 0 | 44.1 |  | 40.6 | 12.5 | 0 | 1.6
50.4 | 655.8 | 0 | 4.5 |  | 70.1 | 1974.5 | 0 | 5.4 |  | 38.2 | 25.2 | 0 | 3.8 |  |  | 57 | 15.3 | 0 | 0.3 |  | 44.2 | 116 | 0 | 14.5
66.2 | 104.4 | 0 | 0.7 |  | 84.5 | 46.6 | 0 | 0.1 |  | 49.4 | 2.7 | 0 | 0.4 |  |  | 59.1 | 28.6 | 0 | 0.5 |  | 50 | 0.8 | 0 | 0.1
71.6 | 108.7 | 0 | 0.7 |  | 95 | 60 | 0 | 0 | Upper Marker | 51.5 | 0.4 | 0 | 0.1 |  |  | 72.9 | 7.6 | 0 | 0.1 |  | 52.8 | 33.2 | 0 | 4.2
76.6 | 18 | 0 | 0.1 |  | 110.9 | 0 | 0 | 0 |  | 87.1 | 101 | 0 | 15.3 |  |  | 77.2 | 20.8 | 0 | 0.4 |  | 55.2 | 93.3 | 0 | 11.7
78.9 | 58.7 | 0 | 0.4 |  | 119.1 | 0 | 0 | 0 |  | 95 | 60 | 0 | 0 | Upper Marker |  | 87.2 | 6.6 | 0 | 0.1 |  | 61.9 | 7.6 | 0 | 1
86.5 | 52.9 | 0 | 0.5 |  | 123.7 | 0 | 0 | 0 |  | 100.7 | 0 | 0 | 0 |  |  | 89.6 | 11.9 | 0 | 0.2 |  | 65.7 | 1.5 | 0 | 0.2
95 | 60 | 0 | 0 | Upper Marker | 180.4 | 0 | 0 | 0 |  | 122.2 | 0 | 0 | 0 |  |  | 95 | 60 | 0 | 0 | Upper Marker | 83.2 | 11.5 | 0 | 1.4
171.5 | 0 | 0 | 0 | [6 empty] | 148.4 | 0 | 0 | 0 |  |  | 102.8 | 0 | 0 | 0 |  | 87 | 50.6 | 0 | 6.3
[10 empty] | 150.5 | 0 | 0 | 0 |  |  | 118.3 | 0 | 0 | 0 |  | 90.8 | 62.8 | 0 | 7.8
[10 empty] | 163 | 0 | 0 | 0 |  |  | 120.6 | 0 | 0 | 0 |  | 95 | 60 | 0 | 0 | Upper Marker
[10 empty] | 171.6 | 0 | 0 | 0 |  |  | 129.1 | 0 | 0 | 0 |  | 127.7 | 0 | 0 | 0
[10 empty] | 180.6 | 0 | 0 | 0 |  |  | 136.5 | 0 | 0 | 0 |  | 155.9 | 0 | 0 | 0
[10 empty] | 182.4 | 0 | 0 | 0 |  |  | 143.4 | 0 | 0 | 0 |  | 158.1 | 0 | 0 | 0
[10 empty] | 188.8 | 0 | 0 | 0 |  |  | 147.3 | 0 | 0 | 0 |  | 163.1 | 0 | 0 | 0
[10 empty] | 192.8 | 0 | 0 | 0 |  |  | 189.6 | 0 | 0 | 0 |  | 188.2 | 0 | 0 | 0
[16 empty] | 199.2 | 0 | 0 | 0 |  | 219.8 | 0 | 0 | 0
[16 empty] | 234.9 | 0 | 0 | 0
V1 |  |  |  |  | V2 | [5 empty] | V3
Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations |  | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | V4 |  |  |  |  | V5
1.6 | 0 | 0 | 0 | Lower Marker | 1.6 | 0 | 0 | 0 | Lower Marker |  | 1.6 | 0 | 0 | 0 | Lower Marker | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations | Size [kDa] | Rel. Conc. [ng/µl] | Calib. Conc. [ng/µl] | % Total | Observations
1.9 | 0 | 0 | 0 | System Peak | 2.4 | 0 | 0 | 0 | System Peak |  | 2 | 0 | 0 | 0 | System Peak | 1.6 | 0 | 0 | 0 | Lower Marker | 0.8 | 0 | 0 | 0
2.5 | 0 | 0 | 0 | System Peak | 2.9 | 0 | 0 | 0 | System Peak |  | 3 | 0 | 0 | 0 | System Peak | 9.7 | 267.7 | 0 | 5.1 |  | 1.6 | 0 | 0 | 0 | Lower Marker
3.2 | 0 | 0 | 0 | System Peak | 5.2 | 1348.2 | 0 | 4.3 |  |  | 3.8 | 0 | 0 | 0 | System Peak | 11.7 | 108 | 0 | 2.1 |  | 2.1 | 0 | 0 | 0 | System Peak
3.6 | 0 | 0 | 0 | System Peak | 6.1 | 1421.8 | 0 | 4.5 |  |  | 5 | 3445.6 | 0 | 17.7 |  | 17.5 | 1550.7 | 0 | 29.8 |  | 2.3 | 0 | 0 | 0 | System Peak
5.1 | 501.5 | 0 | 6.2 |  | 9 | 2657 | 0 | 8.5 |  |  | 11.4 | 555.5 | 0 | 2.9 |  | 23.5 | 354.5 | 0 | 6.8 |  | 2.9 | 0 | 0 | 0 | System Peak
6.2 | 669.1 | 0 | 8.2 |  | 16.6 | 8769.4 | 0 | 28 |  |  | 15.2 | 1861.8 | 0 | 9.6 |  | 32.1 | 56.4 | 0 | 1.1 |  | 4.4 | 0 | 0 | 0 | System Peak
10.8 | 713.7 | 0 | 8.8 |  | 19.8 | 2543.9 | 0 | 8.1 |  |  | 17.8 | 2457.1 | 0 | 12.6 |  | 33.6 | 49.9 | 0 | 1 |  | 5.4 | 95.5 | 0 | 3
17.2 | 3311.9 | 0 | 40.6 |  | 23.7 | 2897.2 | 0 | 9.3 |  |  | 26.2 | 7904.3 | 0 | 40.7 |  | 36.5 | 52.6 | 0 | 1 |  | 8.3 | 1040.7 | 0 | 32.1
19.4 | 329.1 | 0 | 4 |  | 25.6 | 1459.7 | 0 | 4.7 |  |  | 35.4 | 554.2 | 0 | 2.9 |  | 40.5 | 348.2 | 0 | 6.7 |  | 12.4 | 100.8 | 0 | 3.1
29.7 | 1369.8 | 0 | 16.8 |  | 27.9 | 3264 | 0 | 10.4 |  |  | 38 | 680.1 | 0 | 3.5 |  | 46.2 | 1.6 | 0 | 0 |  | 14 | 46.1 | 0 | 1.4
34.2 | 91.3 | 0 | 1.1 |  | 33 | 1691.5 | 0 | 5.4 |  |  | 47.1 | 388 | 0 | 2 |  | 47.8 | 246.9 | 0 | 4.7 |  | 15.5 | 45.3 | 0 | 1.4
36.1 | 39.8 | 0 | 0.5 |  | 43.4 | 273.8 | 0 | 0.9 |  |  | 48.8 | 341.9 | 0 | 1.8 |  | 50 | 2133.7 | 0 | 41 |  | 16.3 | 25.7 | 0 | 0.8
39.2 | 16.9 | 0 | 0.2 |  | 48 | 73.3 | 0 | 0.2 |  |  | 56.2 | 312.6 | 0 | 1.6 |  | 60.6 | 5.1 | 0 | 0.1 |  | 19.8 | 108.8 | 0 | 3.4
41.3 | 101.3 | 0 | 1.2 |  | 50 | 250.1 | 0 | 0.8 |  |  | 60.3 | 316.9 | 0 | 1.6 |  | 77.6 | 14 | 0 | 0.3 |  | 21.3 | 14.3 | 0 | 0.4
46.9 | 141.4 | 0 | 1.7 |  | 51.7 | 1379.2 | 0 | 4.4 |  |  | 63.5 | 617.6 | 0 | 3.1 |  | 88.5 | 12.4 | 0 | 0.3 |  | 23.6 | 95.6 | 0 | 3
54 | 565.5 | 0 | 6.9 |  | 54.6 | 576.3 | 0 | 1.8 |  |  | 95 | 60 | 0 | 0 | Upper Marker | 95 | 60 | 0 | 0 | Upper Marker | 26.2 | 2 | 0 | 0.1
70.9 | 67.7 | 0 | 0.8 |  | 57.1 | 576.3 | 0 | 1.8 |  |  | 171.3 | 0 | 0 | 0 |  | 118.1 | 0 | 0 | 0 |  | 29.7 | 59.4 | 0 | 1.8
73.9 | 49.9 | 0 | 0.6 |  | 70.8 | 2114.6 | 0 | 6.9 |  |  | 183.1 | 0 | 0 | 0 |  | 129 | 0 | 0 | 0 |  | 33.7 | 543 | 0 | 16.8
79.3 | 95.4 | 0 | 1.2 |  | 95 | 60 | 0 | 0 | Upper Marker |  | 192 | 0 | 0 | 0 |  | 136.2 | 0 | 0 | 0 |  | 38.8 | 6.2 | 0 | 0.2
84.4 | 16.6 | 0 | 0.2 |  | 111.3 | 0 | 0 | 0 |  |  | 223 | 0 | 0 | 0 |  | 189.4 | 0 | 0 | 0 |  | 40.7 | 113.2 | 0 | 3.5
88.1 | 69.6 | 0 | 1 |  | 114.9 | 0 | 0 | 0 |  |  | 283 | 0 | 0 | 0 |  | 201.3 | 0 | 0 | 0 |  | 43.2 | 304.2 | 0 | 9.4
95 | 60 | 0 | 0 | Upper Marker | 120 | 0 | 0 | 0 |  |  | 314.5 | 0 | 0 | 0 | [6 empty] | 49.2 | 25.3 | 0 | 0.8
103 | 0 | 0 | 0 |  | 124.7 | 0 | 0 | 0 |  |  | 323.4 | 0 | 0 | 0 | [6 empty] | 51.4 | 3.7 | 0 | 0.1
110.7 | 0 | 0 | 0 |  | 134.8 | 0 | 0 | 0 | [12 empty] | 53 | 6.9 | 0 | 0.2
155.5 | 0 | 0 | 0 |  | 137.3 | 0 | 0 | 0 | [12 empty] | 59.1 | 45 | 0 | 1.4
160.2 | 0 | 0 | 0 |  | 181.8 | 0 | 0 | 0 | [12 empty] | 60.7 | 162.7 | 0 | 5
181.8 | 0 | 0 | 0 | [17 empty] | 62.4 | 198.3 | 0 | 6.1
[21 empty] | 65.3 | 194.3 | 0 | 6
[21 empty] | 95 | 60 | 0 | 0 | Upper Marker
[21 empty] | 115.1 | 0 | 0 | 0
[21 empty] | 118.7 | 0 | 0 | 0
[21 empty] | 120.6 | 0 | 0 | 0
[21 empty] | 125.4 | 0 | 0 | 0
[21 empty] | 130.5 | 0 | 0 | 0
[21 empty] | 145.5 | 0 | 0 | 0
[21 empty] | 149 | 0 | 0 | 0
[21 empty] | 156.7 | 0 | 0 | 0